Table of Contents

# Builder Review — BrainIAC (paper) + Brain_Cal implementation

Primary reference: BrainIAC / brain MRI multi-task work as packaged in the implementation repo (see brain_model_paper.pdf in AI_MRI_Brain_Analysis_Model).

Scope: Builder-oriented read: deployment realism—modality routing, checkpoint compatibility, reliability, and output structure—grounded in the Brain_Cal pipeline, not a second audit of the PDF alone.

## Context

The review uses the implemented surface in that repository:

- Local: ./brain models, ./brain run-tasks

- SLURM: ./brain submit-models

- Outputs: per-task JSON plus quantitative_summary.csv / quantitative_summary.json

## Usability and reproducibility

Strengths

- Single CLI for multiple downstream tasks.

- Explicit runtime checks: missing / corrupted / incompatible checkpoints skipped with clear messages.

- Auto quantitative summaries—less manual aggregation.

- Brain-age export includes predicted_age_months and predicted_age_years for easier reading.

Fixes that improve “what actually ran”

- Modality gating (brain-age): prefer T1-like files (e.g. *_T1w.nii.gz), avoiding mistaken FLAIR-only runs.

- IDH (dual input): paired *_t2f and *_t1ce required for the local path.

- Task-level skip: one bad model need not fail the whole run.

## Example run (illustrative)

Upstream note: numbers from a validated run such as outputs_sub01_real_updated/quantitative_summary.csv (see review on GitHub)—not a guarantee for new data.

- brainage on T1w: on the order of ~20 y in that snapshot (~239 months as reported upstream).

- mci / stroke classifiers: probabilities and discrete labels; treat as model scores—calibration and external validation still required.

- segmentation: nonzero mask metrics for T1w and FLAIR when inputs match expectations.

Builder read: the pipeline can run end-to-end for the tasks that have valid assets; tables are consistent for reporting. Overconfident probabilities (e.g. very near 1.0) warrant QC, not automatic acceptance.

## Generalization and deployment risk

- Site / scanner / protocol shift: treat published performance as a prior.

- Modality mismatch is a common failure mode; gating reduces accidental wrong-input runs.

- Architecture mismatch (e.g. ResNet-style weights vs ViT loader): should fail early with clear skips when implemented that way.

- Calibration on new sites is still a research obligation.

## Integration readiness

- Fit: research deployment on workstation + SLURM; structured artifacts help cohort bookkeeping and audit.

Gaps (typical; check current repo):

- sequence: may be blocked if a checkpoint file is unusable.

- survival: may need a ViT-compatible os.ckpt (or equivalent).

- submit-models + IDH: may skip until paired SLURM wiring is complete.

## Builder conclusion

The paper’s task framing is implementable in practice when checkpoints and modalities align. The main blockers in hardened builds are often assets and orchestration (missing or incompatible weights, paired multi-sequence SLURM paths), not the high-level pipeline layout.

Last updated: 2026-04-25.