Table of Contents

# Builder Review — LeGUI (Davis et al. 2021) + local deployment

Builder Review of the Frontiers in Neuroscience methods paper and a LeGUI_implement-style deployment shell—not a rewrite of LeGUI’s algorithms.

Primary reference: Davis TS, Caston RM, Philip B, et al. LeGUI: A Fast and Accurate Graphical User Interface for Automated Detection and Anatomical Localization of Intracranial Electrodes. Front Neurosci. 2021;15:769872. https://doi.org/10.3389/fnins.2021.769872

Typical layout: LeGUI CLI, run_LeGUI.sh, verify_legui_setup.sh, docs; local MATLAB Runtime R2021b (e.g. v9.11), LeGUI_Linux_v1.2/ from releases, optional Rolston-Lab/LeGUI source in legui-repo/. GPL v3 upstream; compiled Linux build tied to a specific runtime.

## Context

LeGUI is a MATLAB/SPM12 workflow: CT–MRI coregistration, MNI normalization, automated ECoG + SEEG detection, brain-shift / spacing correction, labeling, atlas anatomy, export for analysis. A deployment repo adds MCR install paths, verification, ./LeGUI (install, start, logs, stop, checks)—infrastructure, not new science.

## Platform fit and reproducibility

Published: integrated GUI vs. chaining many tools; SPM12 for coregistration/segmentation; standalone binaries + MATLAB Runtime for users without a MATLAB license. Inputs: pre-implant T1, post-implant CT (ideally ≤1 mm isotropic), AC–PC alignment; time on the order of ~1 h/case in the paper (mixed user + compute).

Deployment strengths: one surface: ./LeGUI install → ./LeGUI start after MCR; checks may wrap filesystem + ldd against bundled MCR.

Friction: MCR ~3.7 GB; silent install is slow; GUI needs a display (desktop, VNC, RDP, X11)—not a headless batch cluster product. Atlas/SPM toolbox and DICOM quirks still drive manual cleanup (false positives, labeling), as the paper notes.

Reproducibility — paper vs. your site

- Fixed algorithmic story and validation on 51 datasets; sensitivity and atlas agreement reported.

- Your end-to-end numbers need your imaging. MNI-centric; comparisons to FreeSurfer-class pipelines need harmonization.

- This shell = runnable MCR + binary + CLI; it does not re-validate the paper on new data by itself.

Observed: detection sensitivity varies by implant vendor/geometry; CT thresholds are cohort-specific (HU distribution)—avoid one global default.

## Performance, generalization, comparison

- Paper: ~93% auto-detection sensitivity with manageable FPs; ~30 min for heavy image steps; atlas vs. expert 73% at 1.3 mm sphere, 94% with ~1 cm neighborhood—resolution matters.

- New institution: treat paper stats as a prior; local QC and hand correction stay in scope. verify_legui_setup.sh = linker/MCR sanity, not imaging benchmarks.

- Cohort: epilepsy surgical monitoring (Utah + small WA set); other iEEG research is plausible but not a separate validation study. >250 contacts, extreme artifacts, odd implants = config/code attention. Not FDA-evaluated in the paper—research governance applies.

- Table 1 (paper) vs. iElvis, ALICE, iElectrodes, etc.: LeGUI trades some FreeSurfer depth for SPM, shorter wall time, single GUI, at the cost of MathWorks runtime for compiled use.

## Clinical relevance, interpretability, integration

- Research: strong for SEEG/ECoG localization (MNI, atlas, gray/white) feeding standard analyses.

- Clinical production (e.g. surgical CAD) out of scope of the publication and a thin deploy repo—expert QA at gyral boundaries remains essential.

- Interpretability: 2D/3D views, atlas overlays, saved structures (ChannelMap.mat, etc.). Labels only as good as normalization + warping (paper notes border cases, e.g. STG vs MTG).

- Integration: MAT / NIfTI ecosystem; custom atlases in atlases/; pairs with BIDS-style DICOM→NIfTI upstream. No PACS/HL7 here. CLI improves ops, not hospital plumbing.

## Limitations and builder insight

- GUI-first; headless “full” use is not the design center. MCR version must match the compiled app. SPM/MATLAB on HPC may need Apptainer/modules. NFS home can slow I/O; local SSD for heavy batch. iEEG-specific, not a general seg platform.

Bottom line: Strong unified workflow and validation story. Builder gap = MCR R2021b pin, a graphical execution path, and QC budget for detection + labeling.

Extensions: container with MCR + binary + entrypoint (display still for interactive use); CI on verify_legui_setup.sh; BIDS/sourcedata helpers and channel conventions per site.

## References

- Davis et al. 2021 Front. Neurosci. — DOI.

- Rolston-Lab/LeGUI — source and releases.

- LeGUI_implement — LeGUI_br.md upstream of this bundle.

Last updated: 2026-04-24.