Table of Contents

# Builder Review — voxTool (intracranial localization on CT)

Evaluation of the pennmem/voxTool stack and a modernized vox_implement layout (Python 3, conda-forge, vox CLI, targeted fixes). Dimensions: usability, reproducibility, performance, generalization, clinical research fit, interpretability and trust, comparison, limitations, integration, builder insight.

Primary reference (software): pennmem/voxTool — GUI for interactive SEEG/ECoG-style contact localization on post-implant CT, with JSON coordinate export (MIT license).

Typical kit: voxTool/ sources, environment.yml, implementation.md, ./vox (install, check, start, stop, logs).

## Context

voxTool is an interactive desktop app: load CT, threshold for contacts, define leads (geometry, naming), place contacts in 3D/slice views, optional seeding/interpolation, save coordinates (and optional bipolar midpoints). Upstream targeted Python 2.7 / PyQt4 / older VTK—impractical on current Linux. A maintainer fork may ship Python 3.10+, VTK/Mayavi with PySide6 (via pyface), pinned environment.yml, and lifecycle helpers.

## Usability

Upstream: README covers workflow, shortcuts, Conda setup (setup_env.sh, env vt); small, readable codebase.

Typical implementation: ./vox install (e.g. micromamba + voxtool-env/ from conda-forge pins); ./vox check imports PylocControl offscreen; ./vox start -f on a workstation with display; background mode → .vox/voxtool.log.

Friction: Mayavi/VTK need a real graphics stack—headless or broken OpenGL → warnings or blank 3D. Operator skill: lead layouts, CT quality, when seeding/interpolation is unsafe (upstream notes duplicate locations and ordering pitfalls).

## Reproducibility

- Aligned with upstream conceptually: launch_pyloc.py, config.yml, lead/contact model, save semantics per upstream README.

- Changed stack: interpreter, Qt, VTK major, matplotlib backends—re-validate on representative CTs after upgrades.

- Patch example: dropping a Traits/Mayavi hook in view/slice_viewer.py that segfaulted on import with modern stacks; slice views stay matplotlib-based.

- Repeatability is dominated by threshold, CT protocol, and manual clicking—not automated detection.

## Performance, generalization

- Performance: depends on volume size, GPU/CPU, VTK scene complexity—no standard benchmark in upstream or a thin wrapper. Expect interactive use on typical clinical CT on a normal workstation.

- Generalization: scanners, kernels, implants, recon vary; settings are study-specific. No pretrained model for contacts; cross-site use = QC and operator judgment. Seeding/interpolation = heuristics—worse on odd grids or artifact-heavy CTs.

## Clinical relevance, interpretability, integration

- Use: research and surgical-planning adjunct: named contacts and coordinates (optional bipolars) for downstream registration/analysis—not a silent clinical device.

- Trust: placements are explicit (click + submit); state is visible in UI and exported JSON. Still depends on artifact review, lead definition consistency, and double-checking seeding/interpolation.

## Comparison, limitations

- Niche: open, CT-centric, interactive localization vs. commercial tools, atlas pipelines, or fully manual logs. This fork’s edge vs. stock upstream is runnable modern pins + small CLI, not new segmentation.

- Limits: legacy upstream conda_env.yml may be unsupported—only the modern environment path. Background GUI without DISPLAY is unreliable; foreground on a desktop session is robust. Stub / incomplete upstream files may remain unless extended locally. Installers and enterprise packaging out of scope unless added.

## Integration

- Natural: BIDS-oriented stacks, FreeSurfer/brain viz, MNE-family tools consuming contact JSON; containers for pre-CT steps.

- Boundary: exports follow voxTool JSON conventions—downstream must map fields and frames explicitly.

## Builder insight

Value is workflow capture (structured leads + coordinates), not full automation. Highest-leverage work is keeping the GUI stack viable (Python, Qt, VTK, Mayavi) and documenting display/OpenGL needs. Roadmap: pin versions; CI with vox check; smoke tests on tiny synthetic NIfTI where licensing allows; consider upstreaming Python 3 deltas.

## References

- pennmem/voxTool — upstream README and code.

- vox_implement — implementation.md, vox_br.md upstream of this bundle.

Last updated: 2026-04-24.